## Slide 1: TAMU-GoldWind Project2 Report 04-22-2019
Prepared By
Nitesh Kumar

## Slide 2
Roadmap:-
Data Exploration
Data Visualization
Data Modelling using Forward stepwise – 10 Fold Cross Validation for 6 and 4 candidates
4) Comparison of KNN – 10 minutes vs 1 minute average
5) Comparison of KNN – 10 minutes average vs 1 minute down sampled(10 min average)
Comparison of KNN with Binning method
Summary
Turbine State - 5

## Slide 3
Variable | Notation Used
Wind Speed | W
Wind Direction | D
Generator Speed | G
Ambient temperature | T
Nacelle Position | Nac
Blade Angle | Ang
Power Limitation | PL
Data Valid | DV
Note :–
Turbine blade angle is taken as the average of blade angle 1, 2 and 3
Results are presented in normalized state i.e (RMSE/Rated Power )*100
Group 1 – Power Limitation : 0 and Data Valid : 1
Group 2 - Power Limitation : 0 and Data Valid : 0
Group 3 - Power Limitation : 1 and Data Valid : 0
Model 1 – Include G and Ang , Model 2 – Exclude G and Ang

## Slide 4
YEAR - 2016
Turbine Number - 34

## Slide 5
Initial Observations | 2,144,959 (92.18 %) | 165,714 (7.12 %) | 16,136 (0.69 %) | 2,326,809
1 minute average | 248,825 (90.07 %) | 25,537 (9.24 %) | 1,895 (0.68 %) | 276,257
10 minutes average | 26,160 (81.25 %) | 5,777 (17.94 %) | 259 (0.80 %) | 32,196
Group 1
Group 2
Data Exploration
Total
 | PL- 0 | PL- 1
DV - 0 | 165,714 (7.12 %) | 16,136 (0.69) %
DV - 1 | 2,144,959 (92.18 %) | 0 (0 %)
Data Distribution
Total observations – 2,326,809
Group 3

## Slide 6
Data Visualization
Power
Power
Group - 1
(kW)
(kW)
Group - 2
Group - 3
(kW)
Power

## Slide 7
Power
(kW)
Power
(kW)
Power
(kW)
Wind Speed (m/s)
Wind Speed (m/s)
Wind Speed (m/s)
Group - 1
Group - 2
Group - 3

## Slide 8
Group - 1
Data Visualization
Group - 2
Group - 3
Power
(kW)
(KW)
(kW)
Power
Power
Generator Speed (rpm)
Generator Speed (rpm)
Generator Speed (rpm)

## Slide 9
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 59.33 | 3.95 %
2 | W+G | 38.24 | 2.54 %
3 | W+G+T | 31.45 | 2.09 %
4 | W+G+T+Ang | 31.05 | 2.07 %
5 | W+G+T+Ang+Nac | 35.39 | 2.35 %
Average – 10 minutes
KNN
Group - 1
Model 1: using G

## Slide 10
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 59.33 | 3.95 %
2 | W+T | 49.02 | 3.26 %
3 | W+T+Nac | 49.64 | 3.30 %
4 | W+T+Nac+Wd | 58.15 | 3.87 %
Average – 10 minutes
KNN
Group - 1
Model 2: not using G

## Slide 11
Number of Predictors
RMSE (%)
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Generator Speed, Ambient temperature and Turbine Blade Angle
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Average - 10 minutes
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 3.95 | 2.54 | 2.09 | 2.07 | 2.35
Model 2 : Not Using G | 3.95 | 3.26 | 3.3 | 3.87

## Slide 12
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 69.28 (72.78) | 4.61% (4.85 %)
2 | W+G | 41.41 (43.31) | 2.76 % (2.88 %)
3 | W+G+T | 33.93 (35.95) | 2.26% (2.39 %)
4 | W+G+T+Ang | 29.18 (31.63) | 1.94% (2.10 %)
5 | W+G+T+Ang+Nac | 29.45 (32.30) | 1.96% (2.15 %)
Average – 1 minute
KNN
Group - 1
Model 1: using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 13
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 69.28 (72.78) | 4.61 % (4.85 %)
2 | W+T | 59.54 (63.40) | 3.96 % (4.22 %)
3 | W+T+Nac | 55.53 (60.00) | 3.70 % (4.00 %)
4 | W+T+Wd+Nac | 60.43 (64.85) | 4.02 % (4.32 %)
Average – 1 minute
KNN
Group - 1
Model 2: not using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 14
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Generator Speed, Ambient temperature and Turbine Blade Angle
Best model predictors for Model 2 – Wind Speed, Ambient temperature and Nacelle Position
Chart: Average - 1 minute
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G(RMSE - 1 min resolution) | 4.85 | 2.88 | 2.39 | 2.1 | 2.15
Model 1 : Using G(RMSE - 10 mins resolution) | 4.61 | 2.76 | 2.26 | 1.94 | 1.96
Model 2 : Not Using G(RMSE - 1 min resolution) | 4.85 | 4.22 | 4 | 4.32
Model 2 : Not Using G(RMSE - 10 mins resolution) | 4.61 | 3.96 | 3.7 | 4.02

## Slide 15
RMSE (%)
Number of Predictors
Comparison – 10 mins vs 1 min(Average)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
1 minute (RMSE - 1 min resolution) | 4.85 | 2.88 | 2.39 | 2.1 | 2.15
1 minute (RMSE - 10 mins resolution) | 4.61 | 2.76 | 2.26 | 1.94 | 1.96
10 minutes | 3.95 | 2.54 | 2.09 | 2.07 | 2.35

## Slide 16
Number of Predictors
RMSE (%)
Comparison – 10 mins vs 1 min(Average)
Chart: Model 2 : Not Using G
1 minute (RMSE - 1 min resolution) | 4.85 | 4.22 | 4 | 4.32
1 minute (RMSE - 10 mins resolution) | 4.61 | 3.96 | 3.7 | 4.02
10 minutes | 3.95 | 3.26 | 3.3 | 3.87

## Slide 17
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 66.76 | 4.45 %
2 | W+G | 41.96 | 2.79 %
3 | W+G+T | 35.89 | 2.39 %
4 | W+G+T+Ang | 34.98 | 2.33 %
5 | W+G+T+Ang+Nac | 39.40 | 2.62 %
Down sample – 1 minutes and average 10 mins
Model 1: using G
KNN
Group - 1

## Slide 18
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 66.76 | 4.45 %
2 | W+T | 57.31 | 3.82 %
3 | W+T+Nac | 58.10 | 3.87 %
4 | W+T+Nac+Wd | 64.89 | 4.32 %
Down sample – 1 min and average 10 mins
KNN
Group - 1
Model 2: not using G

## Slide 19
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Generator Speed, Ambient temperature and Turbine Blade Angle
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Down Sample 1 min and Average 10 mins
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 4.45 | 2.79 | 2.39 | 2.33 | 2.62
Model 2 : Not Using G | 4.45 | 3.82 | 3.87 | 4.32

## Slide 20
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
Average - 10 mins | 3.95 | 2.54 | 2.09 | 2.07 | 2.35
Down sample 1 min and average 10 mins | 4.45 | 2.79 | 2.39 | 2.33 | 2.62

## Slide 21
Chart: Model 2 : Not Using G
| 1 | 2 | 3 | 4
Average - 10 mins | 3.95 | 3.26 | 3.3 | 3.87
Down sample 1 min and average 10 mins | 4.45 | 3.82 | 3.87 | 4.32
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)

## Slide 22
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 29.18 (31.63) | 1.94% (2.10%)
KNN – 10 mins (average) | 31.05 | 2.07%
KNN – 10 mins average (down sample 1 min) | 34.98 | 2.33%
BINNING – 10 mins (average) | 59.09 | 3.93%
Model Comparison
Model 1: using G
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 55.53 (60.00) | 3.70% (4.00%)
KNN – 10 mins (average) | 49.02 | 3.26%
KNN – 10 mins average (down sample 1 min) | 57.31 | 3.82%
BINNING – 10 mins (average) | 59.09 | 3.93%
Model 2: Not using G
Group – 1 Data Only

## Slide 23
SUMMARY
Power curve modelling : two phases – Data Cleaning and Data Modelling
Data Cleaning
Data Exploration and visualization laid the basis to filter important states of features. The three major ones are:
Turbine State – 5 2) Power Limitation – 0 3) Data Valid - 1
The above filtering reduced the data-set by approximately 33%.
Data Modelling
The analysis was carried out on 1 minute averaged data and 10 minutes averaged data using KNN.
1 minute: 1) 1 minute average data predicted the power produced with the best RMSE error of 2.10 % using generator speed and 4.00 % without using generator speed
2) 1 minute prediction and 10 minutes averaged test data predicted the power produced with the best RMSE error of 1.94 % using generator speed and 3.70 % without using generator speed
3) 1 minute down sample and 10 minutes averaged data predicted the power produced with the best RMSE error of 2.33 % using generator speed and 3.82 % without using generator speed
10 minutes: 1) 10 minutes average data predicted the power produced with the best RMSE error of 2.07 % using generator speed and 3.26 % without using generator speed

## Slide 24
YEAR - 2018
Turbine Number - 34

## Slide 25
Initial Observations | 2,046,854 (89.65 %) | 196,860 (8.62 %) | 39434 (1.72 %) | 2,283,148
1 minute average | 266,016 (86.81 %) | 34,407 (11.22 %) | 5,991 (1.95 %) | 306,414
10 minutes average | 28,646 (76.31 %) | 7,861 (20.94 %) | 1,028 (2.73 %) | 37,535
Group 1
Group 2
Data Exploration
Total
 | PL- 0 | PL- 1
DV - 0 | 196,860 (8.62 %) | 39,434 (1.72) %
DV - 1 | 2,046,854 (89.65 %) | 0 (0 %)
Data Distribution
Total observations – 2,283,148
Group 3

## Slide 26
Data Visualization
Power
Power
Group - 1
(kW)
(kW)
Group - 2
Group - 3
(kW)
Power

## Slide 27
Power
(kW)
Power
(kW)
Power
(kW)
Wind Speed (m/s)
Wind Speed (m/s)
Wind Speed (m/s)
Group - 1
Group - 2
Group - 3

## Slide 28
Group - 1
Data Visualization
Group - 2
Group - 3
Power
(kW)
(kW)
(kW)
Power
Power
Generator Speed (rpm)
Generator Speed (rpm)
Generator Speed (rpm)

## Slide 29
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 66.41 | 4.42 %
2 | W+T | 37.63 | 2.50 %
3 | W+T+G | 29.81 | 1.98 %
4 | W+T+G+Nac | 30.95 | 2.06 %
5 | W+T+G+Nac+Ang | 36.57 | 2.43 %
Average – 10 minutes
KNN
Group - 1
Model 1: using G

## Slide 30
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 66.41 | 4.42 %
2 | W+T | 37.63 | 2.50 %
3 | W+T+Nac | 38.49 | 2.56 %
4 | W+T+Nac+Wd | 47.55 | 3.17 %
Average – 10 minutes
KNN
Group - 1
Model 2: not using G

## Slide 31
Number of Predictors
RMSE (%)
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Ambient Temperature and Generator Speed
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Average - 10 minutes
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 4.42 | 2.5 | 1.98 | 2.06 | 2.43
Model 2 : Not Using G | 4.42 | 2.5 | 2.56 | 3.17

## Slide 32
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 76.28 (79.16) | 5.08 % (5.27 %)
2 | W+G | 50.11 (52.27) | 3.34 % (3.48 %)
3 | W+G+T | 33.59 (35.83) | 2.23 % (2.38 %)
4 | W+G+T+Ang | 30.32 (32.70) | 2.02 % (2.18 %)
5 | W+G+T+Ang+Nac | 31.84 (34.56) | 2.12 % (2.30 %)
Average – 1 minute
KNN
Group - 1
Model 1: using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 33
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 76.28 (79.16) | 5.08 % (5.27 %)
2 | W+T | 51.61 (55.47) | 3.44 % (3.69 %)
3 | W+T+Nac | 49.78 (53.93) | 3.31 % (3.59 %)
4 | W+T+Wd+Nac | 53.01 (56.96) | 3.53 % (3.79 %)
Average – 1 minute
KNN
Group - 1
Model 2: not using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 34
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Generator Speed, Ambient temperature and Turbine Blade Angle
Best model predictors for Model 2 – Wind Speed, Ambient temperature and Nacelle Position
Chart: Average - 1 minute
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G(RMSE - 1 min resolution) | 5.27 | 3.48 | 2.38 | 2.18 | 2.3
Model 1 : Using G(RMSE - 10 mins resolution) | 5.08 | 3.34 | 2.23 | 2.02 | 2.12
Model 2 : Not Using G(RMSE - 1 min resolution) | 5.27 | 3.69 | 3.59 | 3.79
Model 2 : Not Using G(RMSE - 10 mins resolution) | 5.08 | 3.44 | 3.31 | 3.53

## Slide 35
RMSE (%)
Number of Predictors
Comparison – 10 mins vs 1 min(Average)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
1 minute (RMSE - 1 min resolution) | 5.27 | 3.48 | 2.38 | 2.18 | 2.3
1 minute (RMSE - 10 mins resolution) | 5.08 | 3.34 | 2.23 | 2.02 | 2.12
10 minutes | 4.42 | 2.5 | 1.98 | 2.06 | 2.43

## Slide 36
Number of Predictors
RMSE (%)
Comparison – 10 mins vs 1 min(Average)
Chart: Model 2 : Not Using G
| 1 | 2 | 3 | 4
1 minute (RMSE - 1 min resolution) | 5.27 | 3.69 | 3.59 | 3.79
1 minute (RMSE - 10 mins resolution) | 5.08 | 3.44 | 3.31 | 3.53
10 minutes | 4.42 | 2.5 | 2.56 | 3.17

## Slide 37
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 71.69 | 4.77 %
2 | W+T | 46.40 | 3.09 %
3 | W+T+G | 34.78 | 2.31 %
4 | W+T+G+Ang | 35.18 | 2.34 %
5 | W+T+G+Ang+Nac | 40.88 | 2.72 %
Down sample – 1 minutes and average 10 mins
Model 1: using G
KNN
Group - 1

## Slide 38
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 71.69 | 4.77 %
2 | W+T | 46.40 | 3.09 %
3 | W+T+Nac | 47.77 | 3.18 %
4 | W+T+Nac+Wd | 54.63 | 3.64 %
Down sample – 1 min and average 10 mins
KNN
Group - 1
Model 2: not using G

## Slide 39
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Ambient Temperature and Generator Speed
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Down Sample 1 min and Average 10 mins
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 4.77 | 3.09 | 2.31 | 2.34 | 2.72
Model 2 : Not Using G | 4.77 | 3.09 | 3.18 | 3.64

## Slide 40
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
Average - 10 mins | 4.42 | 2.5 | 1.98 | 2.06 | 2.43
Down sample 1 min and average 10 mins | 4.77 | 3.09 | 2.31 | 2.34 | 2.72

## Slide 41
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)
Chart: Scenario - 2
| 1 | 2 | 3 | 4
Average - 10 mins | 4.42 | 2.5 | 2.56 | 3.17
Down sample 1 min and average 10 mins | 4.77 | 3.09 | 3.18 | 3.64

## Slide 42
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 30.32 (32.70) | 2.02 % (2.18 %)
KNN – 10 mins (average) | 29.81 | 1.98 %
KNN – 10 mins average (down sample 1 min) | 34.78 | 2.31 %
BINNING – 10 mins (average) | 65.63 | 4.37%
Model Comparison
Model 1: using G
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 49.78 (53.93) | 3.31 % (3.59 %)
KNN – 10 mins (average) | 37.63 | 2.50 %
KNN – 10 mins average (down sample 1 min) | 46.40 | 3.09 %
BINNING – 10 mins (average) | 65.63 | 4.37 %
Model 2: Not using G
Group – 1 Data Only

## Slide 43
Power curve modelling : two phases – Data Cleaning and Data Modelling
Data Cleaning
Data Exploration and visualization laid the basis to filter important states of features. The three major ones are:
Turbine State – 5 2) Power Limitation – 0 3) Data Valid - 1
The above filtering reduced the data-set by approximately 33%.
Data Modelling
The analysis was carried out on 1 minute average data and 10 minutes average data using KNN.
1 minute: 1) 1 minute average data predicted the power produced with the best RMSE error of 2.18 % using generator speed and 3.59 % without using generator speed
2) 1 minute prediction and 10 minutes averaged test data predicted the power produced with the best RMSE error of 2.02 % using generator speed and 3.31 % without using generator speed
3) 1 minute down sample and 10 minutes average data predicted the power produced with the best RMSE error of 2.31 % using generator speed and 3.09 % without using generator speed
10 minutes: 1) 10 minutes average data predicted the power produced with the best RMSE error of 1.98 % using generator speed and 2.50 % without using generator speed
SUMMARY

## Slide 44
YEAR - 2018
Turbine Number - 61

## Slide 45
Initial Observations | 2,172,096 (96.80 %) | 71,084 (3.16 %) | 628 (0.02 %) | 2,243,808
1 minute average | 282,705 (92.87 %) | 21,578 (7.08 %) | 104 (0.03 %) | 304,387
10 minutes average | 30,193 (78.04 %) | 8,464 (21.87 %) | 31 (0.08 %) | 38,688
Group 1
Group 2
Data Exploration
Total
 | PL- 0 | PL- 1
DV - 0 | 71,084 (3.16 %) | 628 (0.02 %)
DV - 1 | 2,172,096 (96.80 %) | 0 (0 %)
Data Distribution
Total observations – 2,243,808
Group 3

## Slide 46
Data Visualization
Power
Power
Group - 1
(kW)
(kW)
Group - 2
Group - 3
(kW)
Power

## Slide 47
Power
(kW)
Power
(kW)
Power
(kW)
Wind Speed (m/s)
Wind Speed (m/s)
Wind Speed (m/s)
Group - 1
Group - 2
Group - 3

## Slide 48
Group - 1
Data Visualization
Group - 2
Group - 3
Power
(kW)
(kW)
(kW)
Power
Power
Generator Speed (rpm)
Generator Speed (rpm)
Generator Speed (rpm)

## Slide 49
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 59.51 | 3.96 %
2 | W+G | 32.64 | 2.17 %
3 | W+G+T | 29.29 | 1.95 %
4 | W+G+T+Ang | 31.22 | 2.08 %
5 | W+G+T+Ang+Nac | 37.22 | 2.48 %
Average – 10 minutes
KNN
Group - 1
Model 1: using G

## Slide 50
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 59.51 | 3.96 %
2 | W+T | 49.88 | 3.32 %
3 | W+T+Nac | 50.26 | 3.35 %
4 | W+T+Nac+Wd | 54.21 | 3.61 %
Average – 10 minutes
KNN
Group - 1
Model 2: not using G

## Slide 51
Number of Predictors
RMSE (%)
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Wind Speed, Generator Speed, Ambient temperature
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Average - 10 minutes
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 3.96 | 2.17 | 1.95 | 2.08 | 2.48
Model 2 : Not Using G | 3.96 | 3.32 | 3.35 | 3.61

## Slide 52
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | G | 71.09 (74.90) | 4.73 % (4.99 %)
2 | G+W | 36.91 (39.60) | 2.46 % (2.64 %)
3 | G+W+T | 32.70 (35.65) | 2.18 % (2.37 %)
4 | G+W+T+Ang | 31.48 (34.69) | 2.09 % (2.31 %)
5 | G+W+T+Ang+Nac | 34.07 (37.47) | 2.27 % (2.49 %)
Average – 1 minute
KNN
Group - 1
Model 1: using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 53
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 77.25 (83.12) | 5.15 % (5.54 %)
2 | W+T | 68.24 (74.50) | 4.54 % (4.96 %)
3 | W+T+Nac | 67.09 (73.49) | 4.47 % (4.89 %)
4 | W+T+Wd+Nac | 69.16 (75.28) | 4.61 % (5.01 %)
Average – 1 minute
KNN
Group - 1
Model 2: not using G
Values in the parenthesis: 1-min model predicts on 1-min test data.
Values outside the parenthesis: 1-min model predicts on 1-min resolution. The 1-min predictions are averaged every 10-min and compare with 10-min test data.

## Slide 54
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Generator Speed, Wind Speed, Ambient temperature and Turbine Blade Angle
Best model predictors for Model 2 – Wind Speed, Ambient temperature and Nacelle Position
Chart: Average - 1 minute
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G(RMSE - 1 min resolution) | 4.99 | 2.64 | 2.37 | 2.31 | 2.49
Model 1 : Using G(RMSE - 10 mins resolution) | 4.73 | 2.46 | 2.18 | 2.09 | 2.27
Model 2 : Not Using G(RMSE - 1 min resolution) | 5.54 | 4.96 | 4.89 | 5.01
Model 2 : Not Using G(RMSE - 10 mins resolution) | 5.15 | 4.54 | 4.47 | 4.61

## Slide 55
RMSE (%)
Number of Predictors
Comparison – 10 mins vs 1 min(Average)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
1 minute (RMSE - 1 min resolution) | 4.99 | 2.64 | 2.37 | 2.31 | 2.27
1 minute (RMSE - 10 mins resolution) | 4.73 | 2.46 | 2.18 | 2.09 | 2.27
10 minutes | 3.96 | 2.17 | 1.95 | 2.08 | 2.48

## Slide 56
Number of Predictors
RMSE (%)
Comparison – 10 mins vs 1 min(Average)
Chart: Model 2 : Not Using G
| 1 | 2 | 3 | 4
1 minute (RMSE - 1 min resolution) | 5.54 | 4.96 | 4.89 | 5.01
1 minute (RMSE - 10 mins resolution) | 5.15 | 4.54 | 4.47 | 4.61
10 minutes | 3.96 | 3.32 | 3.35 | 3.61

## Slide 57
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | G | 65.97 | 4.39 %
2 | G+W | 38.81 | 2.58 %
3 | G+W+T | 36.33 | 2.42 %
4 | G+W+T+Ang | 38.49 | 2.56 %
5 | G+W+T+Ang+Nac | 43.85 | 2.92 %
Down sample – 1 minutes and average 10 mins
Model 1: using G
KNN
Group - 1

## Slide 58
Number of predictor | Best variables | RMSE | Error w.r.t rated power
1 | W | 72.45 | 4.83 %
2 | W+T | 64.27 | 4.28 %
3 | W+T+Nac | 65.18 | 4.34 %
4 | W+T+Nac+Wd | 68.47 | 4.56 %
Down sample – 1 min and average 10 mins
KNN
Group - 1
Model 2: not using G

## Slide 59
RMSE (%)
Number of Predictors
KNN
Group - 1
Note : -
Best model predictors for Model 1 – Generator Speed, Wind Speed and Ambient temperature
Best model predictors for Model 2 – Wind Speed and Ambient temperature
Chart: Down Sample 1 min and Average 10 mins
| 1 | 2 | 3 | 4 | 5
Model 1 : Using G | 4.39 | 2.58 | 2.42 | 2.56 | 2.92
Model 2 : Not Using G | 4.83 | 4.28 | 4.34 | 4.56

## Slide 60
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)
Chart: Model 1 : Using G
| 1 | 2 | 3 | 4 | 5
Average - 10 mins | 3.96 | 2.17 | 1.95 | 2.08 | 2.48
Down sample 1 min and average 10 mins | 4.39 | 2.58 | 2.42 | 2.56 | 2.92

## Slide 61
RMSE (%)
Number of Predictors
Comparison – 10 mins average vs 10 mins average(down sample 1 min)
Chart: Model 2 : Not Using G
| 1 | 2 | 3 | 4
Average - 10 mins | 3.96 | 3.32 | 3.35 | 3.61
Down sample 1 min and average 10 mins | 4.83 | 4.28 | 4.34 | 4.56

## Slide 62
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 31.48 (34.69) | 2.09 % (2.31 %)
KNN – 10 mins (average) | 29.29 | 1.95 %
KNN – 10 mins average (down sample 1 min) | 36.33 | 2.42 %
BINNING – 10 mins (average) | 59.11 | 3.94 %
Model Comparison
Model 1: using G
Model | RMSE (kW) | RMSE (%)
KNN – 1 min (average) | 67.09 (73.49) | 4.47 % (4.89 %)
KNN – 10 mins (average) | 49.88 | 3.32 %
KNN – 10 mins average (down sample 1 min) | 64.27 | 4.28 %
BINNING – 10 mins (average) | 59.11 | 3.94 %
Model 2: Not using G
Group – 1 Data Only

## Slide 63
Power curve modelling : two phases – Data Cleaning and Data Modelling
Data Cleaning
Data Exploration and visualization laid the basis to filter important states of features. The three major ones are:
Turbine State – 5 2) Power Limitation – 0 3) Data Valid - 1
The above filtering reduced the data-set by approximately 33%.
Data Modelling
The analysis was carried out on 1 minute averaged data and 10 minutes averaged data using KNN.
1 minute: 1) 1 minute average data predicted the power produced with the best RMSE error of 2.31 % using generator speed and 4.89 % without using generator speed
2) 1 minute prediction and 10 minutes average test data predicted the power produced with the best RMSE error of 2.09 % using generator speed and 4.47 % without using generator speed
3) 1 minute down sample and 10 minutes average data predicted the power produced with the best RMSE error of 2.42 % using generator speed and 4.28 % without using generator speed
10 minutes: 1) 10 minutes average data predicted the power produced with the best RMSE error of 1.95 % using generator speed and 3.32 % without using generator speed
SUMMARY

## Slide 64
SUMMARY – Using G
Model | Turbine – 34(2016) RMSE(%) | Turbine – 34(2018) RMSE(%) | Turbine – 61(2018) RMSE(%)
KNN – 1 min (average) | 1.94% (2.10%) | 2.02 % (2.18 %) | 2.09 % (2.31 %)
KNN – 10 mins (average) | 2.07% | 1.98 % | 1.95 %
KNN – 10 mins average (down sample 1 min) | 2.33% | 2.31 % | 2.42 %
BINNING – 10 mins (average) | 3.93% | 4.37% | 3.94 %
The analysis gives a clear picture of 10 minute average data being consistent and best in terms of prediction
The 1 minute average data with RMSE calculated on 10 minute averaged test data does better than normal 1 minute data prediction and error calculation

## Slide 65
SUMMARY – Not Using G
Model | Turbine – 34(2016) RMSE(%) | Turbine – 34(2018) RMSE(%) | Turbine – 61(2018) RMSE(%)
KNN – 1 min (average) | 3.70% (4.00%) | 3.31 % (3.59 %) | 4.47 % (4.89 %)
KNN – 10 mins (average) | 3.26% | 2.50 % | 3.32 %
KNN – 10 mins average (down sample 1 min) | 3.82% | 3.09 % | 4.28 %
BINNING – 10 mins (average) | 3.93% | 4.37 % | 3.94 %
Not using generator speed does lack in predictive capability and shows some variation in the results across different data
It seems that be it any case(using generator speed or not) 10 minute average data shows a better predictive capability.